## Overview
Stanford University - Sustainability Data: Water
This file provides all of the Water data visualized on the Sustainability Data Hub. This data tracks progress towards the university’s commitments and increases data accessibility for the purpose of using the campus as a living laboratory for developing sustainability innovations.
Data Hub: |  | Contact info:
https://sustainable.stanford.edu/progress/data-hub |  | https://sustainable.stanford.edu/connect
Contents
Tab Name | Unit of Measurement | Chart Title
Total | Gallons | Water consumption by source by year
Per Square Foot | Gallons, Square feet | Potable water consumption by year, with reference line of total square footage by year
Non-potable Source | Gallons | Non-potable water consumption by source by year
Footnotes
1. Water consumption is reported in the Bay Area Water Supply and Conservation Agency’s fiscal year, July 1- June 30.
2. Building square footage numbers include only the main Stanford campus.
3. In 2025, the building square footage increased due to improvements in data availability.
Glossary
Term | Definition
Dewatering | This is a process used to remove groundwater or surface water intrusions from construction sites. Essentially, a sump pump is installed to pump the water out of the site during the building process.
Non-potable water | This refers to water that has not been treated to drinking water standards. It is the main source of irrigation water for the university, including athletic fields, the golf course, and campus landscaping.
Potable water | This source is also referred to as drinking water or water that is safe to drink and suitable for human consumption. Stanford’s domestic water system provides potable water for all university buildings and the fire protection system.
Stormwater capture | Stormwater refers to surface water runoff from rainfall. Stormwater capture is the practice of collecting this runoff and conveying it to be used in the non-potable water system.

## Total
Year | Gallons of Potable Water | Gallons of Non-Potable Water
2001 | 983894000 | 431426000
2002 | 900145000 | 406634000
2003 | 837507000 | 362740000
2004 | 920273000 | 364159000
2005 | 846663000 | 332149000
2006 | 798404000 | 270526000
2007 | 832417000 | 347163000
2008 | 843413000 | 446777000
2009 | 782996000 | 394942000
2010 | 780810000 | 375156000
2011 | 773339000 | 391343000
2012 | 786742000 | 413573000
2013 | 765961000 | 449440000
2014 | 766159000 | 395689000
2015 | 691012000 | 353475000
2016 | 508187000 | 294834000
2017 | 519927000 | 339200000
2018 | 542506000 | 403518000
2019 | 521469000 | 379984000
2020 | 523115000 | 390251000
2021 | 493553000 | 403159000
2022 | 534239000 | 383777000
2023 | 505971000 | 407018000
2024 | 545538000 | 381180000
2025 | 578994000 | 411153000

## Per Square Foot
Year | Building Square Footage (Main Campus) | Gallons of Potable Water
2001 | 13629022 | 983894000
2002 | 13871509 | 900145000
2003 | 14160309 | 837507000
2004 | 14146198 | 920273000
2005 | 14432295 | 846663000
2006 | 14485286 | 798404000
2007 | 14529343 | 832417000
2008 | 15065334 | 843413000
2009 | 15487375 | 782996000
2010 | 15487375 | 780810000
2011 | 16184356 | 773339000
2012 | 16114919 | 786742000
2013 | 15842770 | 765961000
2014 | 16096625 | 766159000
2015 | 16428609 | 691012000
2016 | 16559740 | 508187000
2017 | 16404870 | 519927000
2018 | 16339128 | 542506000
2019 | 16558474 | 521469000
2020 | 16644653 | 523115000
2021 | 17769182 | 493553000
2022 | 17697338 | 534239000
2023 | 17687074 | 505971000
2024 | 17705501 | 545538000
2025 | 22397728 | 578994000

## Non-potable Source
Year | Ground Water | Surface Water | Stormwater Capture | Dewatering
2001 | - | - | - | -
2002 | - | - | - | -
2003 | - | - | - | -
2004 | - | - | - | -
2005 | - | - | - | -
2006 | - | - | - | -
2007 | - | - | - | -
2008 | - | - | - | -
2009 | - | - | - | -
2010 | - | - | - | -
2011 | - | - | - | -
2012 | - | - | - | -
2013 | 105254000 | 344186000 | - | -
2014 | 276554000 | 119135000 | - | -
2015 | 353475000 | - | - | -
2016 | 224913000 | 69921000 | - | -
2017 | 148485000 | 190715000 | - | -
2018 | 180644000 | 191694000 | - | 31180000
2019 | 105393000 | 151600000 | 7600000 | 115391000
2020 | 121647000 | 242963000 | 2926000 | 22715000
2021 | 382716000 | 6306000 | 14137000 | -
2022 | 364289000 | 5641000 | 13847000 | -
2023 | 261929000 | 102487000 | 42602000 | -
2024 | 287325000 | 70949000 | 22906000 | -
2025 | 368181000 | 25149000 | 17824000 | -